## Slide 1: Cyber Security – OT/IoT/IIoT/ ICS/Critical Infrastructure
Sanam Makadia

## Slide 2: Quick Google search on OT/IoT/IIoT/ICS

## Slide 3: IT & OT/IoT/IIoT/ICS
OT/IoT/IIoT/ICS
Information Technology (IT)
Internet of Things (IoT)
Industrial Internet of Things (IIoT)
Operational Technology (OT)
Industrial Control Systems (ICS)
Programmable Logic Controllers (PLCs)
Distributed Control System (DCS)
Supervisory Control and Data Acquisition (SCADA)

## Slide 4: Why Now? (Traditional AIR Gaps are shrinking)
Digital transformation.
Convergence of IT & OT, Cloud Connectivity.
Emergence of Industry 4.0 ecosystem, Data Analytics, Predictive maintenance.
Sophistication of Threats.
Geopolitical tensions.

## Slide 5: Communication Protocols
Machine / Sensors / Actuators
SCADA / PLC
ERP /App / Data Analytic
OT (Operational technology)
IT (Information technology)
Communication systems & Protocols
Modbus, Profibus, Profinet, BACnet, DALI, DLMS, HART
Wireless Communication technologies |  | 
Short Range | Long Range | 
 | Cellular | LPWAN
Wifi | 3G (GSM/CDMA) | LoRaWAN
Bluetooth | 4G (LTE) | SIGFOX
Z-Wave | 5G | Weightless-N
Zigbee | LTE Cat 0,1 & 3 | Ingenu
Thread | LTE-M1 | Neul
NFC | LTE-NB1 | N-Wave
RFID | NB-IoT | 
EnOcean |  | 
6LoWPAN |  | 
IP, TCP, UDP, HTTPS,
FTP, SMTP, SNMP
Cloud

## Slide 6: Issues with OT/ICS security
Proprietary systems managed by engineers (NOT IT).
Not easy to upgrade / patch.
Lack of encryption due to limited memory / processor power.
Specialized communications / protocols.
Systems designed without considering security.
Tailored attacks on physical control components.

## Slide 7: C-I-A Triad versus A-I-C Triad
Confidentiality
Integrity
Availability
Availability
Integrity
Confidentiality
IT Security
ICS/OT Security
IT Security - Importance is given to sensitive data such as PII, credit card, trade secrets & intellectual property.
ICS/OT Security - Industrial process & Data Integrity is important.

## Slide 8: Purdue Model (Revised from ENISA)
Level 0
Level 1
Level 2
Level 3
Level 4
Level 5
Manufacturing Processes and Equipment
SCADA
RTUs
PLCs
DCS
Historian
IIoT Sensors
IIoT Actuators
SIS
IIoT Apps
Dashboards & Displays
IIoT Platform
MES
SaaS
PaaS
IaaS
ERP
SCM
S&OP
CRM
TPS
MRP
WMS
Track & Trace
HMI
ESS
Manufacturing processes and machinery
Industrial control and supervision devices and systems
Production and supply chain management and planning (manufacturing and enterprise operations)
Third Parties Services

## Slide 9: Threat Model
IT Network
OT Network
OT Network (EMS, SCADA, GMS)
Level 4 or 5: Corporate desktop, Remote access workstation, domain server, webserver
Level 1,2 &3: EMS,SCADA, GMS
HMI, Historian, EWS
PLC, IED, RTU, Meter
Nation-state, Terrorists
Cybercriminal
Insider
Side-Channel (Physical)
INTERNET
Social Engineering
Credential theft
Cyberphysical Attack

## Slide 10: Freely Available Tools
Easily & readily available tools.
OT systems Vulnerability and exploit database.
Search engine like Shodan.
ICS equipment & documentation easy to procure.

## Slide 11: OT Infrastructure Attacks
2001
2021
2010
2013
2014
2015
2016
2017
2018
2019
2020
“Lost Decade”
Stuxnet disrupts Iranian nuclear program
New York dam floodgates compromised
Hospital drug infusion pumps hacked
Michigan traffic light hacked
German steel mill furnace destroyed
Ukraine power grid knocked offline
MIRAI Botnet 145,00 IoT devices
Maersk Shipping global shutdown
Trisis/Triton Malware designed to compromise safety
Global Aluminum producer shutdown
ASCO parts shutdown
Ekans ransomware attach on Honda, Fresenius
Colonial Pipeline shutdown
Meat Factory Shutdown

## Slide 12: Triton Cyber Attack

## Slide 13: Thinking like Hackers
Information Gathering (Reconnaissance)
Environment Setup
Reverse Engineering
Attack Simulation

## Slide 14: Thinking like Defender
Physical Inventory - Find it & document.
Passive Monitoring - Listen, record traffic and look for assets.
Active Scanning - Scan the network without disruption
Other Sources - Gather data from other network sources / systems.
Understand what we want to protect (ASSET INVENTORY)

## Slide 15: Thinking like Defender
Passive Monitoring & Discovery
Services
SPAN/RSPAN + Hardware TAP.
Limitation
Device & Infrastructure capabilities.
Routing & Segmentation.
Protocol support.
Risks
Configuration Management.
Complex Analysis.
Window for Analysis.

## Slide 16: Thinking like Defender
Active Scanning & Discovery
Services
Network Routing.
Device discovery services.
Limitation
Device & Infrastructure capabilities.
Routing & Segmentation.
Protocol support.
Risks
Configuration Management.
Device capability.
Complex Analysis.

## Slide 17: Thinking like Defender
Additional Asset discovery sources & Methods

## Slide 18: Thinking like Defender
Vulnerability & Patching (To Patch, or Not to Patch?)

## Slide 19: Securing with Zero Trust
Integrated Threat Intelligence
Security Policy Engine(s)
Continuous Risk Evaluation
Data
Infrastructure
Networking
Apps & Protocols
Identities
Devices

## Slide 20: Zero Trust for OT/IIoT/IoT - recommendations
Verify explicitly.
Implement least privileged access.
Assume compromise.
Apply basic hygiene.
Patch where possible.
Implement MFA.
Train employees.
Implement continuous monitoring.
Detect unauthorized & compromised devices with behavioral anomaly detection.
Implement micro-segmentation using asset discovery & network mapping.
Unify IT & OT security monitoring and governance in SOC.
Leverage MITRA ATT&CK for ICS.
Automate incident response (SOAR).

## Slide 21: Agentless security for OT/IoT/IIoT devices
What devices do we have & whom are they communicating with?
OT/IoT/IIoT Asset Discovery
What are risks & mitigations impacting our crown jewel assets?
Risk & Vulnerability Management
How do we detect & respond to OT/IIoT/IoT threats in the network?
Continuous OT/IoT/IIoT Threat Monitoring, Incident Response & Threat Intelligence
How do we identify the root cause of malfunctioning or misconfigured equipment?
Operational Efficiency
How do we break down IT/OT silos?
How do we leverage existing workflows & tools to centralize IT/OT security in our SOC?
How do we demonstrate that we have a safety- and security-first environment?
Unified IT/OT Security Monitoring & Governance

## Slide 22: Apply Zero trust Principle to OT/IIoT/IoT
Zero Trust Principles - Assume breach, verify explicitly, Use least privilege access (identity and network)
SAFETY SYSTEMS
Purdue Model
Level 1 – Basic Control Electronics controlling or monitoring physical systems
Level 0 – Process Physical machinery
Level 2 – Supervisory Control Monitoring & Control for discrete business functions (e.g. production line)
Level 3 – Site Operations Control & monitoring for physical site with multiple functions (e.g. plant)
Security Analytics
Purdue Levels 4 + 5 and Zero Trust
Business Analytics
Operational Technology (OT) Environments
Information Technology (IT) Environments
Analytics Platform
Dashboard
Blended cybersecurity attacks are driving convergence of IT, OT, and IoT security architectures and capabilities
Plant Security and Operator Consoles
IoT Sensor(s) + Analytics
NETWORK TAP/SPAN
IoT Manager
Central Console
Configuration Backups
3rd party
Analytics
Cloud Environments
Business Analytics
Hard Boundary
Physically disconnect from IT network(s)
Data-Diode (1-way)
Soft(ware) Boundary
People, Process, and Tech (network + identity access control, boundary patching and security hygiene)
Internal isolation
As business processes allow
Isolation and Segmentation
3rd party
Analytics
SIEM
EDR Solution
EDR Console
Business Analytic Sensor(s)
Stage 1
Deploy to local site only
Stage 2
Connect to Cloud
Read-Only
NGFW Management
Local SIEM
(Optional)
NIC1
NIC2
PCAP
(manual)
MONITOR
MANAGE
Stage 3
Response Actions (SOAR)

## Slide 23: Thank you